## 20210924_
OPEN 6.3.4
Fri Sep 24 2021 10:42:10
Unit= | PSC-2263
LCF= | LCF-0845
LCFCals= | -1.24 | -0.97 | -2956
LightSource= | 6400-40 LCF | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/WKuo-022221_Fluorometer.xml
Remark= | ToTp
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | FCnt | DCnt | Fo | Fm | Fo' | Fm' | Fs | Fv/Fm | Fv'/Fm' | PhiPS2 | Adark | RedAbs | BlueAbs | %Blue | LeafAbs | PhiCO2 | qP | qN | NPQ | ParIn@Fs | PS2/1 | ETR | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2Sfc | AHs/Cs | Fv | PARabs | Fv' | qP_Fo | qN_Fo
in | in | in | in | out | out | out | in | in | in | in | in | in | in | out | out | out | in | in | in | in | out | out | out | out | out | in | in | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "10:43:21 Coolers: Tblock -> 24.61 C"
Remark= | "10:57:33 Coolers: Tblock -> 26.24 C"
Remark= | "10:58:02 Flow: Fixed -> 500 umol/s"
Remark= | "10:59:15 005"
1 | 11:12:27 | 1868.9999 | 1 | 42.5222 | 0.71799 | 281.3617 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 10.2767 | 0.85 | 0.046466 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 11.1057 | 1.6131 | 25.5722 | 1 | 5 | 1 | 10 | 27.0192 | 26.6316 | 26.9339 | 400.1391 | 390.7739 | 14.6198 | 16.8019 | 40.7144 | 46.7914 | 500.3877 | 1101.9329 | 138.6383 | 99.788 | 3.3228 | -0.096255 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0039 | 0.011106 | 299.7816 | 300.1692 | 176.3093 | -1.0594 | 3.2898 | 32.9677 | 16.1658 | 26.6316 | 3.5025 | 0.66989 | 1.6766 | 1.8258 | 0.42275 | 28.0765 | 0.72001 | 53.0821 | 385.0334 | 0.058623 | 0 | 936.6429 | 0 | #DIV/0! | #DIV/0!
2 | 11:12:30 | 1871.9999 | 1 | 42.5335 | 0.71832 | 281.4035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 10.2767 | 0.85 | 0.046484 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 11.1111 | 1.6133 | 25.5735 | 1 | 5 | 1 | 10 | 27.0219 | 26.6338 | 26.9363 | 400.168 | 390.8005 | 14.6201 | 16.8032 | 40.7093 | 46.788 | 500.4062 | 1101.7997 | 87.1321 | 99.789 | 3.3228 | -0.096255 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0041 | 0.011111 | 299.7838 | 300.1719 | 176.2879 | -1.0603 | 3.29 | 32.9699 | 16.1667 | 26.6338 | 3.5029 | 0.67018 | 1.6768 | 1.8261 | 0.42294 | 28.081 | 0.72007 | 53.0839 | 385.0585 | 0.058636 | 0 | 936.5297 | 0 | #DIV/0! | #DIV/0!
3 | 11:12:34 | 1875.9999 | 1 | 42.1375 | 0.71864 | 282.3972 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 10.2767 | 0.85 | 0.046061 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 11.1219 | 1.6141 | 25.5792 | 1 | 5 | 1 | 10 | 27.0257 | 26.6413 | 26.9387 | 400.1238 | 390.8344 | 14.6204 | 16.8056 | 40.7009 | 46.7842 | 500.4014 | 1101.7885 | 78.5189 | 99.7888 | 3.3228 | -0.096255 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.004 | 0.011122 | 299.7913 | 300.1757 | 176.2861 | -1.0621 | 3.2912 | 32.9812 | 16.1755 | 26.6413 | 3.5045 | 0.67046 | 1.677 | 1.8274 | 0.42311 | 28.1801 | 0.72255 | 53.0754 | 385.1458 | 0.058068 | 0 | 936.5202 | 0 | #DIV/0! | #DIV/0!
Remark= | "11:15:57 034"
4 | 11:31:02 | 2985.9999 | 1 | 9.7592 | 0.13074 | 268.0115 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.8669 | 0.85 | 0.011482 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 2.2115 | 1.6706 | 24.7181 | 1 | 5 | 1 | 10 | 24.871 | 24.4302 | 24.9216 | 400.0177 | 397.8916 | 14.157 | 14.5925 | 44.7692 | 46.1464 | 500.404 | 1102.3848 | 142.625 | 99.7813 | 3.3228 | -0.096255 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.004 | 0.0022115 | 297.5802 | 298.021 | 176.3816 | 0.28787 | 3.1266 | 31.3348 | 16.7424 | 24.4302 | 3.0733 | 0.12905 | 1.4561 | 1.6172 | 0.080809 | 26.7425 | 0.67358 | 46.0195 | 396.5741 | 0.011325 | 0 | 937.0271 | 0 | #DIV/0! | #DIV/0!
5 | 11:31:04 | 2987.9999 | 1 | 9.2753 | 0.13079 | 273.9503 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.9079 | 0.85 | 0.011013 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 2.2114 | 1.67 | 24.7149 | 1 | 5 | 1 | 10 | 24.8676 | 24.4298 | 24.9172 | 399.9121 | 397.8827 | 14.1569 | 14.5924 | 44.7779 | 46.1554 | 500.3992 | 1097.6857 | 118.6575 | 99.781 | 3.3228 | -0.096255 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.004 | 0.0022114 | 297.5798 | 298.0176 | 175.6297 | 0.28518 | 3.126 | 31.329 | 16.7366 | 24.4298 | 3.0732 | 0.1291 | 1.456 | 1.6171 | 0.080836 | 27.335 | 0.68852 | 46.0284 | 396.6306 | 0.010764 | 0 | 933.0328 | 0 | #DIV/0! | #DIV/0!
6 | 11:31:06 | 2989.9999 | 1 | 10.0667 | 0.13089 | 264.3344 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.8669 | 0.85 | 0.011816 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 2.2142 | 1.6707 | 24.7192 | 1 | 5 | 1 | 10 | 24.8643 | 24.4323 | 24.9131 | 400.0166 | 397.8288 | 14.1571 | 14.5931 | 44.7867 | 46.1661 | 500.3995 | 1101.9155 | 109.8027 | 99.7799 | 3.3228 | -0.096255 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.004 | 0.0022142 | 297.5823 | 298.0143 | 176.3065 | 0.28685 | 3.1268 | 31.3373 | 16.7442 | 24.4323 | 3.0736 | 0.1292 | 1.4561 | 1.6175 | 0.080901 | 26.3753 | 0.66444 | 46.0186 | 396.4698 | 0.011685 | 0 | 936.6282 | 0 | #DIV/0! | #DIV/0!
Remark= | "11:32:34 006"
7 | 11:56:51 | 4537.4998 | 1 | 23.9404 | 0.41932 | 292.2046 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.9491 | 0.85 | 0.026666 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 5.8297 | 1.412 | 23.9894 | 1 | 5 | 1 | 10 | 24.3826 | 24.2629 | 24.3245 | 399.9926 | 394.7487 | 14.7028 | 15.8493 | 47.8622 | 51.5944 | 500.4221 | 1100.3302 | 142.5154 | 99.7592 | 3.3228 | -0.096255 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0042 | 0.0058297 | 297.4129 | 297.5326 | 176.0528 | -0.2735 | 2.9931 | 30.003 | 14.1537 | 24.2629 | 3.0426 | 0.40244 | 1.5811 | 1.4615 | 0.25299 | 29.1501 | 0.74023 | 53.6619 | 391.5167 | 0.032813 | 0 | 935.2807 | 0 | #DIV/0! | #DIV/0!
8 | 11:56:53 | 4539.4998 | 1 | 24.4348 | 0.41794 | 289.9259 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.9491 | 0.85 | 0.027159 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 5.817 | 1.4133 | 23.9967 | 1 | 5 | 1 | 10 | 24.3893 | 24.2674 | 24.3301 | 400.0549 | 394.7131 | 14.7047 | 15.8487 | 47.8491 | 51.5718 | 500.4088 | 1101.7773 | 101.185 | 99.759 | 3.3228 | -0.096255 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0041 | 0.005817 | 297.4174 | 297.5393 | 176.2844 | -0.27069 | 2.9944 | 30.0162 | 14.1674 | 24.2674 | 3.0434 | 0.40117 | 1.5811 | 1.4624 | 0.25219 | 28.9227 | 0.73452 | 53.6308 | 391.4144 | 0.03348 | 0 | 936.5107 | 0 | #DIV/0! | #DIV/0!
9 | 11:56:55 | 4541.4998 | 1 | 24.3335 | 0.41981 | 290.7471 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.9491 | 0.85 | 0.027055 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 5.8432 | 1.4136 | 24.0013 | 1 | 5 | 1 | 10 | 24.3958 | 24.2761 | 24.3365 | 400.0533 | 394.7299 | 14.7049 | 15.854 | 47.8313 | 51.5691 | 500.4293 | 1101.615 | 106.0207 | 99.7593 | 3.3228 | -0.096255 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0043 | 0.0058432 | 297.4261 | 297.5458 | 176.2584 | -0.27483 | 2.9952 | 30.0244 | 14.1704 | 24.2761 | 3.045 | 0.40289 | 1.5816 | 1.4634 | 0.25327 | 29.0047 | 0.73657 | 53.6419 | 391.4449 | 0.033346 | 0 | 936.3727 | 0 | #DIV/0! | #DIV/0!
Remark= | "11:59:05 035"
10 | 12:13:03 | 5510.9997 | 1 | 36.0296 | 0.53649 | 270.0958 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.7861 | 0.85 | 0.039609 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 9.2703 | 1.768 | 26.6952 | 1 | 5 | 1 | 10 | 27.5588 | 27.4907 | 27.4269 | 399.9846 | 392.0581 | 15.7016 | 17.5217 | 42.3451 | 47.2537 | 500.3954 | 1099.8605 | 487.7569 | 99.739 | 3.3228 | -0.096255 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.004 | 0.0092703 | 300.6407 | 300.7088 | 175.9777 | -0.79547 | 3.5156 | 35.2479 | 17.7262 | 27.4907 | 3.6836 | 0.50917 | 1.7476 | 1.936 | 0.32058 | 26.9391 | 0.68892 | 50.9771 | 387.1941 | 0.047436 | 0 | 934.8814 | 0 | #DIV/0! | #DIV/0!
11 | 12:13:05 | 5512.9997 | 1 | 36.1393 | 0.53833 | 270.1449 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.7861 | 0.85 | 0.039728 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 9.2939 | 1.7668 | 26.6913 | 1 | 5 | 1 | 10 | 27.5621 | 27.4902 | 27.4305 | 400.0265 | 392.0763 | 15.7014 | 17.5261 | 42.3362 | 47.2563 | 500.4021 | 1099.821 | 282.773 | 99.7385 | 3.3228 | -0.096255 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.004 | 0.0092939 | 300.6402 | 300.7121 | 175.9714 | -0.79891 | 3.5148 | 35.24 | 17.7139 | 27.4902 | 3.6835 | 0.51083 | 1.748 | 1.9355 | 0.32163 | 26.9439 | 0.68901 | 51.0088 | 387.1975 | 0.047609 | 0 | 934.8479 | 0 | #DIV/0! | #DIV/0!
12 | 12:13:07 | 5514.9997 | 1 | 36.2306 | 0.53882 | 269.944 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.7861 | 0.85 | 0.03983 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 9.3041 | 1.7671 | 26.6939 | 1 | 5 | 1 | 10 | 27.5657 | 27.4945 | 27.4337 | 400.0289 | 392.0594 | 15.7012 | 17.528 | 42.3264 | 47.2509 | 500.388 | 1099.6995 | 129.2037 | 99.7374 | 3.3228 | -0.096255 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0039 | 0.0093041 | 300.6445 | 300.7157 | 175.9519 | -0.80054 | 3.5153 | 35.2458 | 17.7178 | 27.4945 | 3.6844 | 0.51127 | 1.7482 | 1.9362 | 0.32191 | 26.9235 | 0.68853 | 51.008 | 387.1683 | 0.047732 | 0 | 934.7445 | 0 | #DIV/0! | #DIV/0!
Remark= | "12:14:42 007"
13 | 12:31:35 | 6624.9996 | 1 | 30.742 | 0.39493 | 257.1389 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 10.1176 | 0.85 | 0.033925 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 5.475 | 1.4035 | 24.2239 | 1 | 5 | 1 | 10 | 24.8092 | 24.4334 | 24.8459 | 399.9296 | 393.3555 | 15.2894 | 16.3656 | 48.5009 | 51.9149 | 500.3839 | 1100.7659 | 307.1502 | 99.7238 | 3.3228 | -0.096255 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0038 | 0.005475 | 297.5834 | 297.9592 | 176.1225 | -0.20954 | 3.0355 | 30.439 | 14.0734 | 24.4334 | 3.0738 | 0.37992 | 1.632 | 1.4418 | 0.23876 | 25.6429 | 0.65371 | 54.4559 | 389.2054 | 0.043013 | 0 | 935.651 | 0 | #DIV/0! | #DIV/0!
14 | 12:31:37 | 6626.9996 | 1 | 30.7339 | 0.39587 | 257.4664 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 10.1176 | 0.85 | 0.033917 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 5.4804 | 1.4016 | 24.2149 | 1 | 5 | 1 | 10 | 24.8044 | 24.4251 | 24.8422 | 399.9186 | 393.3458 | 15.2902 | 16.3675 | 48.5175 | 51.9359 | 500.3878 | 1100.7573 | 330.7598 | 99.7239 | 3.3228 | -0.096255 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0039 | 0.0054804 | 297.5751 | 297.9544 | 176.1212 | -0.21022 | 3.0339 | 30.4226 | 14.0551 | 24.4251 | 3.0723 | 0.3808 | 1.6322 | 1.4401 | 0.23931 | 25.6755 | 0.65455 | 54.4952 | 389.1967 | 0.043034 | 0 | 935.6437 | 0 | #DIV/0! | #DIV/0!
15 | 12:31:39 | 6628.9996 | 1 | 30.4594 | 0.39652 | 258.8564 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 10.1176 | 0.85 | 0.033624 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 5.4848 | 1.4006 | 24.21 | 1 | 5 | 1 | 10 | 24.8 | 24.421 | 24.8377 | 399.9171 | 393.399 | 15.2909 | 16.369 | 48.5328 | 51.9547 | 500.4079 | 1100.7334 | 373.134 | 99.7245 | 3.3228 | -0.096255 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0041 | 0.0054848 | 297.571 | 297.95 | 176.1173 | -0.21091 | 3.033 | 30.4135 | 14.0445 | 24.421 | 3.0716 | 0.3814 | 1.6324 | 1.4392 | 0.23969 | 25.8143 | 0.658 | 54.5189 | 389.287 | 0.042658 | 0 | 935.6234 | 0 | #DIV/0! | #DIV/0!
Remark= | "12:33:37 036"
16 | 12:41:14 | 7204.9996 | 1 | 22.2235 | 0.35004 | 282.787 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 10.0326 | 0.85 | 0.024856 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 4.7065 | 1.3553 | 24.0216 | 1 | 5 | 1 | 10 | 24.3778 | 24.1204 | 24.388 | 399.7324 | 394.92 | 15.5578 | 16.4828 | 50.6365 | 53.6472 | 500.4177 | 1099.197 | 232.3453 | 99.7132 | 3.3228 | -0.096255 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0042 | 0.0047065 | 297.2704 | 297.5278 | 175.8715 | -0.098747 | 2.9989 | 30.0749 | 13.5922 | 24.1204 | 3.0167 | 0.33821 | 1.6436 | 1.3731 | 0.21241 | 28.1976 | 0.71606 | 55.2935 | 391.9198 | 0.031354 | 0 | 934.3175 | 0 | #DIV/0! | #DIV/0!
17 | 12:41:17 | 7207.9996 | 1 | 23.0257 | 0.35056 | 279.101 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 10.0326 | 0.85 | 0.025715 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 4.7146 | 1.3557 | 24.0242 | 1 | 5 | 1 | 10 | 24.3773 | 24.1244 | 24.3869 | 399.7893 | 394.816 | 15.557 | 16.4836 | 50.6355 | 53.6515 | 500.415 | 1099.1683 | 127.2872 | 99.7131 | 3.3228 | -0.096255 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0042 | 0.0047146 | 297.2744 | 297.5273 | 175.8669 | -0.10016 | 2.9993 | 30.0797 | 13.5961 | 24.1244 | 3.0174 | 0.33869 | 1.6436 | 1.3738 | 0.21272 | 27.83 | 0.70691 | 55.2897 | 391.7075 | 0.032501 | 0 | 934.2931 | 0 | #DIV/0! | #DIV/0!
18 | 12:41:20 | 7210.9996 | 1 | 22.6376 | 0.34891 | 280.3683 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 10.0326 | 0.85 | 0.025304 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 4.6935 | 1.3558 | 24.0226 | 1 | 5 | 1 | 10 | 24.3764 | 24.1195 | 24.3854 | 399.6541 | 394.7603 | 15.5572 | 16.4796 | 50.6391 | 53.6416 | 500.4345 | 1098.9988 | 120.0942 | 99.7135 | 3.3228 | -0.096255 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0043 | 0.0046935 | 297.2695 | 297.5264 | 175.8398 | -0.096905 | 2.999 | 30.0766 | 13.597 | 24.1195 | 3.0165 | 0.33715 | 1.6432 | 1.3733 | 0.21175 | 27.9565 | 0.71022 | 55.2753 | 391.7042 | 0.031945 | 0 | 934.149 | 0 | #DIV/0! | #DIV/0!
Remark= | "12:43:18 009"
19 | 13:04:45 | 8618.4995 | 1 | 39.3611 | 0.59857 | 274.1942 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.7462 | 0.85 | 0.043177 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 7.0364 | 1.2127 | 23.6776 | 1 | 5 | 1 | 10 | 24.3794 | 24.129 | 24.3484 | 399.7972 | 391.3811 | 15.9226 | 17.3044 | 51.7963 | 56.2913 | 500.4089 | 1099.7537 | 274.2502 | 99.6697 | 3.3228 | -0.096255 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0041 | 0.0070364 | 297.279 | 297.5294 | 175.9606 | -0.45141 | 2.9375 | 29.472 | 12.1676 | 24.129 | 3.0183 | 0.56476 | 1.7247 | 1.2935 | 0.35586 | 27.3289 | 0.70058 | 60.1134 | 386.0673 | 0.061288 | 0 | 934.7906 | 0 | #DIV/0! | #DIV/0!
20 | 13:04:48 | 8621.4995 | 1 | 39.055 | 0.59855 | 275.0253 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.7462 | 0.85 | 0.042853 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 7.036 | 1.2127 | 23.6788 | 1 | 5 | 1 | 10 | 24.3859 | 24.13 | 24.3561 | 399.7183 | 391.3631 | 15.9251 | 17.3068 | 51.7842 | 56.2774 | 500.3944 | 1099.6458 | 151.8331 | 99.6694 | 3.3228 | -0.096255 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0039 | 0.007036 | 297.28 | 297.5359 | 175.9433 | -0.45121 | 2.9377 | 29.4742 | 12.1674 | 24.13 | 3.0184 | 0.56474 | 1.725 | 1.2935 | 0.35585 | 27.4116 | 0.70274 | 60.117 | 386.0907 | 0.060811 | 0 | 934.6989 | 0 | #DIV/0! | #DIV/0!
21 | 13:04:51 | 8624.4995 | 1 | 39.7874 | 0.60039 | 273.2721 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.7462 | 0.85 | 0.043637 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 7.0578 | 1.2129 | 23.6826 | 1 | 5 | 1 | 10 | 24.3928 | 24.1371 | 24.3627 | 399.8275 | 391.3245 | 15.9256 | 17.3116 | 51.7641 | 56.2692 | 500.4055 | 1099.649 | 139.1472 | 99.6685 | 3.3228 | -0.096255 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0041 | 0.0070578 | 297.2871 | 297.5428 | 175.9438 | -0.45451 | 2.9383 | 29.4812 | 12.1696 | 24.1371 | 3.0197 | 0.56639 | 1.7254 | 1.2943 | 0.3569 | 27.2366 | 0.69833 | 60.126 | 385.9532 | 0.061983 | 0 | 934.7017 | 0 | #DIV/0! | #DIV/0!
22 | 13:37:31 | 10587.9993 | 1 | 29.5753 | 0.51423 | 290.2832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.9491 | 0.85 | 0.032675 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 6.4197 | 1.2761 | 24.2726 | 1 | 5 | 1 | 10 | 25.3346 | 24.6114 | 25.3831 | 399.9012 | 393.486 | 16.4888 | 17.749 | 50.644 | 54.5144 | 500.4002 | 1100.8621 | 148.1489 | 99.6263 | 3.3228 | -0.096255 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.004 | 0.0064197 | 297.7614 | 298.4846 | 176.1379 | -0.33878 | 3.0444 | 30.5578 | 12.8089 | 24.6114 | 3.1067 | 0.48908 | 1.7683 | 1.3385 | 0.30784 | 28.9198 | 0.73772 | 59.1465 | 389.4934 | 0.044911 | 0 | 935.7328 | 0 | #DIV/0! | #DIV/0!
23 | 13:37:45 | 10601.9993 | 1 | 29.7934 | 0.51598 | 289.8468 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.9491 | 0.85 | 0.032932 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 6.4397 | 1.2759 | 24.2604 | 1 | 5 | 1 | 10 | 25.3109 | 24.6033 | 25.3558 | 399.8987 | 393.4382 | 16.465 | 17.7291 | 50.6399 | 54.5279 | 500.3844 | 1100.0874 | 121.1483 | 99.6219 | 3.3228 | -0.096255 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0038 | 0.0064397 | 297.7533 | 298.4609 | 176.014 | -0.34286 | 3.0421 | 30.5369 | 12.8078 | 24.6033 | 3.1052 | 0.49066 | 1.7662 | 1.339 | 0.30884 | 28.8751 | 0.7367 | 59.1296 | 389.4161 | 0.045239 | 0 | 935.0743 | 0 | #DIV/0! | #DIV/0!
24 | 13:37:48 | 10604.9993 | 1 | 29.4795 | 0.51624 | 290.9007 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.9491 | 0.85 | 0.032597 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 6.4415 | 1.2757 | 24.2564 | 1 | 5 | 1 | 10 | 25.3063 | 24.5996 | 25.3499 | 399.838 | 393.4402 | 16.4596 | 17.7241 | 50.6372 | 54.5273 | 500.3909 | 1100.0391 | 126.7026 | 99.6221 | 3.3228 | -0.096255 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0039 | 0.0064415 | 297.7496 | 298.4563 | 176.0062 | -0.3432 | 3.0414 | 30.5296 | 12.8055 | 24.5996 | 3.1046 | 0.49089 | 1.7657 | 1.3389 | 0.30899 | 28.9801 | 0.73938 | 59.1284 | 389.4605 | 0.044756 | 0 | 935.0332 | 0 | #DIV/0! | #DIV/0!
Remark= | "13:39:27 013"
Remark= | "13:42:26 Flow: Fixed -> 500 umol/s"
25 | 13:58:26 | 11827.4999 | 1 | 32.4261 | 0.42175 | 258.3758 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.9907 | 0.85 | 0.035753 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 5.4567 | 1.3109 | 24.0881 | 1 | 5 | 1 | 10 | 24.6288 | 24.2971 | 24.595 | 399.7255 | 392.8172 | 16.0007 | 17.0725 | 51.2304 | 54.6621 | 500.4072 | 1099.8899 | 233.4779 | 99.5741 | 3.2316 | -0.16127 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0041 | 0.0054567 | 297.4471 | 297.7788 | 175.9824 | -0.209 | 3.0109 | 30.2374 | 13.1649 | 24.2971 | 3.0488 | 0.40468 | 1.7 | 1.3489 | 0.25441 | 25.7275 | 0.65775 | 57.2113 | 388.4396 | 0.047759 | 0 | 934.9064 | 0 | #DIV/0! | #DIV/0!
26 | 13:58:29 | 11830.4999 | 1 | 32.5109 | 0.42437 | 258.7933 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.9907 | 0.85 | 0.035839 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 5.481 | 1.3089 | 24.0778 | 1 | 5 | 1 | 10 | 24.6293 | 24.2901 | 24.5948 | 399.726 | 392.799 | 15.9968 | 17.0734 | 51.216 | 54.6629 | 500.4144 | 1100.0397 | 155.9762 | 99.5739 | 3.2316 | -0.16127 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0041 | 0.005481 | 297.4401 | 297.7793 | 176.0063 | -0.21231 | 3.009 | 30.2187 | 13.1453 | 24.2901 | 3.0476 | 0.4071 | 1.7001 | 1.3475 | 0.25593 | 25.7691 | 0.65884 | 57.2596 | 388.41 | 0.047928 | 0 | 935.0337 | 0 | #DIV/0! | #DIV/0!
27 | 13:58:32 | 11833.4999 | 1 | 32.6542 | 0.42322 | 257.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.9907 | 0.85 | 0.03599 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 5.4679 | 1.3092 | 24.0775 | 1 | 5 | 1 | 10 | 24.6289 | 24.2877 | 24.5937 | 399.7086 | 392.7537 | 15.9958 | 17.0699 | 51.2144 | 54.6533 | 500.3916 | 1100.1127 | 147.7888 | 99.5741 | 3.2316 | -0.16127 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0039 | 0.0054679 | 297.4377 | 297.7789 | 176.018 | -0.2102 | 3.0089 | 30.2181 | 13.1483 | 24.2877 | 3.0471 | 0.40603 | 1.6997 | 1.3474 | 0.25526 | 25.6762 | 0.65654 | 57.2446 | 388.3454 | 0.048134 | 0 | 935.0958 | 0 | #DIV/0! | #DIV/0!
Remark= | "14:00:13 042"
28 | 14:11:06 | 12588.9999 | 1 | 33.4376 | 0.36778 | 235.1645 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.9491 | 0.85 | 0.036845 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 5.5487 | 1.5181 | 25.4512 | 1 | 5 | 1 | 10 | 25.81 | 25.682 | 25.7323 | 400.1525 | 393.0346 | 16.468 | 17.5574 | 49.1417 | 52.3924 | 500.4073 | 1099.6058 | 103.7898 | 99.5636 | 3.2316 | -0.16127 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0041 | 0.0055487 | 298.832 | 298.96 | 175.9369 | -0.23083 | 3.2662 | 32.8054 | 15.248 | 25.682 | 3.3113 | 0.35473 | 1.7481 | 1.5632 | 0.22284 | 23.4138 | 0.59833 | 54.0105 | 388.5206 | 0.046484 | 0 | 934.665 | 0 | #DIV/0! | #DIV/0!
29 | 14:11:08 | 12590.9999 | 1 | 33.3589 | 0.36812 | 235.6186 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.9491 | 0.85 | 0.036766 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 5.5591 | 1.5196 | 25.4604 | 1 | 5 | 1 | 10 | 25.8184 | 25.693 | 25.7409 | 400.1184 | 393.0152 | 16.4692 | 17.5606 | 49.1205 | 52.3758 | 500.3938 | 1099.4379 | 102.5425 | 99.5633 | 3.2316 | -0.16127 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0039 | 0.0055591 | 298.843 | 298.9684 | 175.9101 | -0.23259 | 3.268 | 32.8234 | 15.2628 | 25.693 | 3.3134 | 0.35505 | 1.7484 | 1.565 | 0.22304 | 23.459 | 0.59952 | 53.9923 | 388.5118 | 0.04636 | 0 | 934.5222 | 0 | #DIV/0! | #DIV/0!
30 | 14:11:11 | 12593.9999 | 1 | 33.8416 | 0.36813 | 233.4722 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.9491 | 0.85 | 0.037281 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 5.5672 | 1.5218 | 25.4743 | 1 | 5 | 1 | 10 | 25.8325 | 25.7082 | 25.7537 | 400.2135 | 393.0135 | 16.4733 | 17.5663 | 49.0915 | 52.3487 | 500.4087 | 1099.4998 | 92.9451 | 99.5625 | 3.2316 | -0.16127 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0041 | 0.0055672 | 298.8582 | 298.9825 | 175.92 | -0.23384 | 3.2707 | 32.8509 | 15.2846 | 25.7082 | 3.3164 | 0.35506 | 1.7489 | 1.5675 | 0.22305 | 23.2451 | 0.59406 | 53.9644 | 388.4449 | 0.047014 | 0 | 934.5748 | 0 | #DIV/0! | #DIV/0!
Remark= | "14:13:12 014"
Remark= | "14:29:39 Coolers: Tblock -> 27.34 C"
31 | 14:31:56 | 13840.9998 | 1 | 33.3369 | 0.45852 | 263.6942 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.9907 | 0.85 | 0.036657 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 6.8194 | 1.5083 | 25.7132 | 1 | 5 | 1 | 10 | 26.7155 | 26.1161 | 26.7439 | 399.9038 | 392.706 | 16.8385 | 18.1766 | 47.615 | 51.3989 | 500.3633 | 1102.0121 | 142.7344 | 99.5307 | 3.2316 | -0.16127 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0036 | 0.0068194 | 299.2661 | 299.8655 | 176.3219 | -0.40292 | 3.3174 | 33.3305 | 15.1539 | 26.1161 | 3.3975 | 0.43842 | 1.8091 | 1.5884 | 0.27575 | 26.2457 | 0.67148 | 55.3785 | 388.2055 | 0.047556 | 0 | 936.7103 | 0 | #DIV/0! | #DIV/0!
32 | 14:31:58 | 13842.9998 | 1 | 33.1334 | 0.45698 | 264.0676 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.9907 | 0.85 | 0.03644 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 6.7954 | 1.5079 | 25.709 | 1 | 5 | 1 | 10 | 26.7086 | 26.1083 | 26.7372 | 399.8903 | 392.7353 | 16.8392 | 18.1725 | 47.6364 | 51.4084 | 500.3828 | 1101.9978 | 127.9884 | 99.5313 | 3.2316 | -0.16127 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0038 | 0.0067954 | 299.2583 | 299.8586 | 176.3196 | -0.39926 | 3.3166 | 33.3221 | 15.1496 | 26.1083 | 3.3959 | 0.43701 | 1.8087 | 1.5872 | 0.27486 | 26.283 | 0.67238 | 55.3737 | 388.2623 | 0.047255 | 0 | 936.6981 | 0 | #DIV/0! | #DIV/0!
33 | 14:32:02 | 13846.9998 | 1 | 33.5269 | 0.45801 | 262.8116 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.9907 | 0.85 | 0.036861 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 6.8025 | 1.5062 | 25.6983 | 1 | 5 | 1 | 10 | 26.6933 | 26.0989 | 26.722 | 399.8538 | 392.6198 | 16.833 | 18.1677 | 47.6625 | 51.4418 | 500.3869 | 1101.9634 | 128.7735 | 99.5327 | 3.2316 | -0.16127 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0039 | 0.0068025 | 299.2489 | 299.8433 | 176.3141 | -0.40059 | 3.3145 | 33.3005 | 15.1328 | 26.0989 | 3.3941 | 0.43795 | 1.8083 | 1.5858 | 0.27545 | 26.1583 | 0.66938 | 55.3993 | 388.0937 | 0.047859 | 0 | 936.6689 | 0 | #DIV/0! | #DIV/0!
Remark= | "14:34:27 043"
34 | 14:48:11 | 14817.9997 | 1 | 22.44 | 0.29779 | 264.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.7002 | 0.85 | 0.025127 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 4.0588 | 1.3633 | 24.3478 | 1 | 5 | 1 | 10 | 24.783 | 24.3423 | 24.8044 | 400.0124 | 395.2075 | 16.235 | 17.0323 | 51.469 | 53.9965 | 500.4102 | 1097.4669 | 180.7732 | 99.5069 | 3.2316 | -0.16127 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0041 | 0.0040588 | 297.4923 | 297.933 | 175.5947 | 0.0055416 | 3.0581 | 30.7328 | 13.7005 | 24.3423 | 3.0571 | 0.28917 | 1.6948 | 1.3623 | 0.18149 | 26.2887 | 0.66848 | 55.6505 | 392.1781 | 0.031843 | 0 | 932.8469 | 0 | #DIV/0! | #DIV/0!
35 | 14:48:14 | 14820.9997 | 1 | 21.7881 | 0.29865 | 268.0988 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.6595 | 0.85 | 0.024327 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 4.0664 | 1.362 | 24.3411 | 1 | 5 | 1 | 10 | 24.7822 | 24.3339 | 24.8032 | 399.8982 | 395.2234 | 16.234 | 17.0327 | 51.468 | 54.0002 | 500.4496 | 1102.0454 | 177.5299 | 99.5062 | 3.2316 | -0.16127 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0045 | 0.0040664 | 297.4839 | 297.9322 | 176.3273 | 0.0071988 | 3.0569 | 30.7206 | 13.6878 | 24.3339 | 3.0556 | 0.28999 | 1.6949 | 1.3607 | 0.182 | 26.6775 | 0.67835 | 55.6778 | 392.282 | 0.030924 | 0 | 936.7386 | 0 | #DIV/0! | #DIV/0!
36 | 14:48:17 | 14823.9997 | 1 | 21.9838 | 0.29997 | 267.5228 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.6595 | 0.85 | 0.024539 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 4.0792 | 1.3604 | 24.3337 | 1 | 5 | 1 | 10 | 24.7793 | 24.3284 | 24.8006 | 399.9037 | 395.1885 | 16.2352 | 17.0365 | 51.478 | 54.0186 | 500.4199 | 1101.9075 | 179.7909 | 99.501 | 3.2316 | -0.16127 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0042 | 0.0040792 | 297.4784 | 297.9293 | 176.3052 | 0.0052884 | 3.0555 | 30.7086 | 13.6722 | 24.3284 | 3.0546 | 0.29123 | 1.6951 | 1.3594 | 0.18279 | 26.6188 | 0.67695 | 55.7173 | 392.2207 | 0.031229 | 0 | 936.6214 | 0 | #DIV/0! | #DIV/0!
Remark= | "14:54:56 061"
Remark= | "15:50:40 066"
37 | 16:18:46 | 20262.4994 | 1 | 34.2709 | 0.68209 | 301.1379 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 10.0326 | 0.85 | 0.03768 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 7.4691 | 1.1356 | 23.4671 | 1 | 5 | 1 | 10 | 24.4042 | 23.9764 | 24.3998 | 400.0909 | 392.6566 | 16.286 | 17.752 | 52.765 | 57.5149 | 500.4271 | 1101.2528 | 241.3954 | 99.4156 | 3.2316 | -0.16127 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0043 | 0.0074691 | 297.1264 | 297.5542 | 176.2004 | -0.50923 | 2.9004 | 29.1749 | 11.4229 | 23.9764 | 2.9907 | 0.63853 | 1.7648 | 1.2259 | 0.40278 | 29.9378 | 0.76692 | 62.4663 | 388.03 | 0.05517 | 0 | 936.0649 | 0 | #DIV/0! | #DIV/0!
38 | 16:18:48 | 20264.4994 | 1 | 33.975 | 0.68263 | 301.9076 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 10.0326 | 0.85 | 0.037367 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 7.4745 | 1.1356 | 23.4659 | 1 | 5 | 1 | 10 | 24.4045 | 23.976 | 24.4001 | 400.0103 | 392.6347 | 16.283 | 17.7501 | 52.7547 | 57.5079 | 500.4315 | 1101.1565 | 235.7319 | 99.4159 | 3.2316 | -0.16127 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0043 | 0.0074745 | 297.126 | 297.5545 | 176.185 | -0.51008 | 2.9002 | 29.1727 | 11.4226 | 23.976 | 2.9907 | 0.63901 | 1.7646 | 1.226 | 0.40308 | 30.0144 | 0.76893 | 62.4664 | 388.0481 | 0.054692 | 0 | 935.983 | 0 | #DIV/0! | #DIV/0!
39 | 16:18:50 | 20266.4994 | 1 | 33.877 | 0.68252 | 302.1054 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 10.0326 | 0.85 | 0.037265 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 7.4744 | 1.1358 | 23.4673 | 1 | 5 | 1 | 10 | 24.4048 | 23.9774 | 24.4006 | 399.9605 | 392.6052 | 16.2836 | 17.7505 | 52.7561 | 57.5088 | 500.4752 | 1101.0763 | 233.6133 | 99.4172 | 3.2316 | -0.16127 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0048 | 0.0074744 | 297.1274 | 297.5548 | 176.1722 | -0.51014 | 2.9005 | 29.1747 | 11.4242 | 23.9774 | 2.9909 | 0.63891 | 1.7647 | 1.2262 | 0.40302 | 30.0345 | 0.76949 | 62.4633 | 388.0318 | 0.054533 | 0 | 935.9148 | 0 | #DIV/0! | #DIV/0!
Remark= | "16:20:38 098"
40 | 16:48:17 | 22036.4992 | 1 | 19.3779 | 0.20298 | 228.4238 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.8264 | 0.85 | 0.021749 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 4.6729 | 2.2655 | 29.2977 | 1 | 5 | 1 | 10 | 29.6014 | 29.3909 | 29.5042 | 399.7593 | 395.5171 | 17.452 | 18.3688 | 41.6658 | 43.8546 | 500.3551 | 1102.2832 | 361.0123 | 99.4104 | 3.2316 | -0.16127 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0036 | 0.0046729 | 302.5409 | 302.7514 | 176.3653 | -0.093156 | 4.0916 | 41.1585 | 22.7897 | 29.3909 | 4.1136 | 0.19894 | 1.826 | 2.2876 | 0.1247 | 22.7077 | 0.57753 | 44.0662 | 392.9011 | 0.021733 | 0 | 936.9407 | 0 | #DIV/0! | #DIV/0!
41 | 16:48:18 | 22037.4992 | 1 | 19.4094 | 0.20295 | 228.163 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.8669 | 0.85 | 0.021803 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 4.6669 | 2.263 | 29.2856 | 1 | 5 | 1 | 10 | 29.5973 | 29.3781 | 29.4989 | 399.7583 | 395.5102 | 17.4502 | 18.3658 | 41.6716 | 43.8581 | 500.3456 | 1101.2853 | 358.5126 | 99.4109 | 3.2316 | -0.16127 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0035 | 0.0046669 | 302.5281 | 302.7473 | 176.2056 | -0.092443 | 4.0887 | 41.1296 | 22.7638 | 29.3781 | 4.1106 | 0.19892 | 1.8258 | 2.2848 | 0.12468 | 22.6819 | 0.57688 | 44.0914 | 392.8899 | 0.021782 | 0 | 936.0925 | 0 | #DIV/0! | #DIV/0!
42 | 16:48:20 | 22039.4992 | 1 | 19.5194 | 0.20248 | 226.9735 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | -1 | 0.85 | 0.85 | 9.8669 | 0.85 | 0.021988 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.5 | #DIV/0! | 4.6475 | 2.2588 | 29.2649 | 1 | 5 | 1 | 10 | 29.5861 | 29.3558 | 29.4885 | 399.7839 | 395.5154 | 17.4463 | 18.358 | 41.69 | 43.8689 | 500.3562 | 1097.9045 | 352.7979 | 99.4136 | 3.2316 | -0.16127 | 0.66667 | 0 | 5 | 1 | 0 | 0.16 | 111115 | 5.0036 | 0.0046475 | 302.5058 | 302.7361 | 175.6647 | -0.090903 | 4.0838 | 41.0791 | 22.7211 | 29.3558 | 4.1053 | 0.19847 | 1.825 | 2.2803 | 0.1244 | 22.5642 | 0.57387 | 44.1267 | 392.8803 | 0.021923 | 0 | 933.2189 | 0 | #DIV/0! | #DIV/0!
Remark= | "16:57:32 Coolers: Tblock -> 20.00 C"
Remark= | "16:57:44 Coolers: Tblock -> 20.00 C"